Self-Certification for Solar Roof top Installations up to 10KW

This is to certify that the installation of Solar roof top power plant along with its associated equipment of capacity   04 X 620 Wp = 2480 Wp & 2 X 615 = 1230 | TOTAL = 3710Wp BESIDE PRIYA FLATE, PETLAD 300806, Has been carried out by us/me and the details of the Installation as well as the test results are as under:

- Details of Consumer:

| Name : CHANDRAKANT B PATELIA | Address: : BESIDE PRIYA FLATE, PETLAD 300806 |
| --- | --- |
| Electricity Connection No.: 01106024893 |  |
| DisCom registration No.: NP-GJMG25-8459439 |  |

- Details of Solar PV cells and Inverter:

| No. | Particular | Modules | Inverter |
| --- | --- | --- | --- |
| 1. | Make | ADANI | SOLARYAAN |
| 2. | Capacity | 620W * 4 & 615W * 2 | 3.6 KW |
| 3. | No. of Modules/Inverter | 06 | 01 |
| 4. | Total Capacity | 3710 Wp | 3.6 KW |
| 5. | Voltage | 41.6V | 230 Vac |
| 6. | Sr No. | Attached Separate Sheet | 119116126C04499 |

- Test Results:

| Earthing | Insulation resistance |
| --- | --- |
| Earth Tester Sr No.-11204 | Megger Sr No. and voltage:18254 and 1000 V |
| Earth Resistance values for all Earth Pits- - 0.67 Ω - 0. 45 Ω - 0.80 Ω - LA | Insulation Resistance: - Phase to Neutral: 476MΩ - Phase to Earth: 482MΩ |

The work of aforesaid installation has been completed by us on 26/03/2026_and it is to hereby declare that

- All PV modules and its supporting structures have enough mechanical strength and it conforms to the relevant codes/guidelines prescribed in this behalf.

- All cables/wires, protective switchgears as well as Earthlings are of adequate ratings/size and they conforms to the requirements of Central Electricity Authority (Measures relating to safety and electrical supply), Regulations 2010 as well as the relevant codes/guidelines prescribed in this behalf.

- The work of aforesaid Installation has been carried out in conformance with the requirements of Central Electricity Authority (Measures relating to safety and electrical supply), Regulations 2010 and the relevant codes/guidelines prescribed in this behalf. The installation is tested by us and is found safe to be energized.

|  | CHANDRAKANT B PATELIA ( NADIAD ) |
| --- | --- |
| SR NO | PANEL NO ( ADANI ) |
| 1 | AS260201133671 |
| 2 | AS260201133307 |
| 3 | AS260201131484 |
| 4 | AS260201133660 |
| 5 | AS260305130377 |
| 6 | AS260305130379 |
| INVERTOR | 119116126C04499 SOLARYAAN 3.6 KW |